# Questionnaire air compressor

| Request of contact details |
| --- |
| Name of contact |  |  | Email |  |
| Name of client |  |  | Phone |  |
| Address of client |  |  | Country |  |

| Request of project data |
| --- |
| Project name |  |  | Country installation |  |
| Request of background | New requirement ( Replacement ( Extension ( Budget request ( |  | Operation-hours per year or per week Defaults compressor regulation |  |
| Compressed air is compressed from the environment? Redensification from air net possible? |  |  | Where air is compressed? Compressed air is used for what? |  |

| Design data of the compressor |
| --- |
| Is oil-free compression required? | No ( Yes ( Not necessarily ( |  | Flow rate ref. to design pressure and standard conditions 1013 mbar, 20°C | Min. ______ Nm3/h Design ______ Nm3/h Max. ______ Nm3/h |
| Suction pressure | Min. ______ bar(g) Design ______ bar(g) Max. ______ bar(g) |  | Discharge pressure | Min. ______ bar(g) Design ______ bar(g) Max. ______ bar(g) |
| Air humidity (Dew point) |  |  | Air contaminations |  |
| Suction temperature HAUG standard is 5-35°C | Min. ______ °C Design ______ °C Max. ______ °C |  | Ambient temperature HAUG standard is 5-35°C | Min. ______ °C Design ______ °C Max. ______ °C |

| Equipment + scope of supply of the compressor |
| --- |
| Electrical connection | Voltage ______ V Frequency ______ Hz | Explosion protection | Ex-Zone (1 oder 2) ___ Temp.class (T2 oder T3) ___ |
| Place of installation: | Inside ( Outside ( Corrosive environment ( | Noise: Is there a limit of the maximum sound level? |  |
| Scope of supply system components | Electric control unit ( Vessel ( Container solution ( Sound absorption hood ( Dryer ( | Water cooling ( Air cooling ( Pre-cooler ( After-cooler ( | Suction valve ( Suction safety valve ( Suction filter ( Flexible hoses ( |